ROCKWOOD SCHOOL DISTRICT

REQUEST FOR PROPOSAL

RFP No.: RFP1118BLEACHER

Title: Districtwide Annual Bleacher and Basketball Goal System Inspections

Issue Date:  November 8, 2018

This document constitutes Rockwood School District’s (hereafter called the “District” or “RSD”) Request for Proposals ("RFP") soliciting proposals from qualified individuals, firms or organizations to provide annual inspection services as described in this RFP.

SEALED PROPOSALS FOR PROVIDING THE SERVICES DESCRIBED HEREIN MUST BE RECEIVED NO LATER THAN:  2:00 PM CST ON NOVEMBER 30, 2018. Proposals submitted after that time and date will be rejected and returned.

PROPOSALS SHALL BE SUBMITTED TO:

Coordinator Maintenance and Grounds

Rockwood School District

17146 Manchester Road

Wildwood, MO  63040

All inquiries for information regarding Proposal Preparation and Submission Requirements shall be in writing and shall be directed to:

Bill Branson

Coordinator Maintenance and Grounds

Rockwood School District

17146 Manchester Road

Wildwood, MO  63040

bransonbill@rsdmo.org

636.733.3270

All other communications and questions regarding this RFP must be directed to the above individual. No other contact with any members of the Rockwood School Board, any administrators, staff or employees of the District is permitted before or after completion of the RFP process. Failure to follow this directive or any attempt to contact or to influence any such person may result in rejection or disqualification of a proposal.

Any and all responses to written requests for information and questions will be in writing and will be sent to all known interested parties. Any oral responses will be considered unauthorized and non-binding on the District.

Important Dates

RFP Issue Date	November 8, 2018

Deadline for RFP Clarification	November 15, 2018

Proposal Due Date	November 30, 2018 at 2:00 PM CST

Award Recommendation Submitted to BOE	December 5, 2018

BOE Approval Date	December 20, 2018

Contract Commencement Date	January 1, 2019

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

I.  RFP INSTRUCTIONS AND CONDITIONS

- INTRODUCTION

The District is a nationally recognized, diverse community of learners. Currently the District serves nearly 21,000 students, made up of four high schools, six middle schools, and nineteen elementary schools, a talented and gifted campus, and a school for at-risk high school students. The District employs over 4,000 people, and covers 150 square miles in much of western St. Louis and northern Jefferson counties. The District has consistently earned the accreditation of Distinction in Performance by the Missouri Department of Education. Additional detailed information about the District may be found at www.rsdmo.org.

The Rockwood School District invites you to submit a bid according to requirements contained herein for annual inspection services.

- PROPOSAL PREPARATION AND SUBMISSION REQUIREMENTS

A.	In order to be considered, proposers must submit two (2) hardcopies of the proposal and one electronic copy. Proposals shall be signed and printed or type written, submitted sealed with the envelope plainly marked with the title and RFP No.: RFP1118BLEACHER. Proposals shall be delivered to:

Coordinator Maintenance and Grounds

Rockwood School District

RFP1118BLEACHER

17146 Manchester Road

Wildwood, MO  63040

SEALED PROPOSALS FOR FURNISHING THE SERVICES DESCRIBED HEREIN MUST BE RECEIVED BY 2:00 PM CST ON NOVEMBER 30, 2018. Proposals submitted after that time and date will be rejected and returned.

B.	Proposals shall be prepared simply, but completely, providing a straightforward, concise description of capabilities to satisfy the requirements of the RFP. Emphasis should be on completeness and clarity of content. At the same time, proposals should be as thorough and detailed as possible so that the District may properly evaluate the Proposer's capabilities to provide the required services.

Electronic or facsimile proposals alone will not be considered in response to this RFP, nor will modifications by electronic or facsimile notice be accepted.

C.	Proposers must include at least the following information, data and responses labeled accordingly in their proposals (i.e. C1, D, E. etc.):

(1)	Proposer's full name and principal office address, and descriptions of the type of business entity (e.g., publicly held corporation, private non-profit, proprietorship, partnership, etc.).

(2)	If Proposer is incorporated, include the state in which it is incorporated, and list the name and occupation of those individuals servicing on the board of directors, along with the name of any entity or person owning 10% or more of the corporation.

(3)	The name, title, mailing address, telephone number, fax number, and email address of the contact person for this RFP and the proposal.

(4)	A summary description or work plan which describes how Proposer intends to perform the required services and include a description of any involvement and responsibilities which would be required of the District.

(5)	The name(s) of the employees, persons or contractor(s) proposed to perform the services, and describe the qualifications and experience of each.

(6)	Description of the manner by which Proposer proposes to be compensated for the services to be provided, including a listing or schedule of fees, commissions, costs and expenses, including reimbursable costs and Proposer’s total cost for the services to be provided.

- Indicate if proposed pricing includes the acceptance of payment with a procurement card (p-card) or credit card in lieu of a check. If Proposer agrees, no additional fees shall be charged to the District for card acceptance.

- Indicate if proposed pricing could be offered to other Missouri school districts of similar size and order volumes.

D.	Proposers must provide a description or evidence of their experience and qualifications to undertake and to provide the services described in this RFP with a particular emphasis upon experience and services provided to Missouri K-12 school districts.

E.	Proposers must provide evidence or information as to their financial condition and stability.

F.	Proposers must provide a minimum of five (5) references with names, addresses and phone numbers, and including specifically any governmental entities and school districts for which each Proposer has provided services.

G.	Proposers must state whether they have been involved in any litigation during the last five years, and if so, describe any such litigation.

- AWARD

Award(s) will be made to the responsive and responsible Proposer(s) whose proposal(s) is deemed to be most advantageous to the District, taking into account overall content of the proposal, cost, overall proposal, experience and qualifications of the firm and staff assigned and quality and content of the manner in which the services are proposed to be performed. The District reserves the right to split the award or to make multiple awards, and to make award on a part or portion of a proposal. The District may request additional information and/or an interview with some or all Proposers as part of the selection process. In no event shall the District be required to explain the evaluation process or award selection to any Proposer.

- RIGHT TO REJECT

The District reserves the right to accept any proposal, to reject any and all proposals, and to waive any irregularities or informalities in any proposals. Conditional proposals will not be accepted.

- PROPOSALS FINAL

All proposals shall be deemed final, conclusive and irrevocable, and no proposal shall be subject to correction or amendment for any error or miscalculation.

- COST OF PREPARATION

The cost of preparing and submitting a response to this RFP will be assumed solely by each Proposer, whether or not any agreement is signed as a result of this RFP.

- OWNERSHIP OF SUBMITTALS

All completed proposals submitted in response to this RFP become the property of the District upon submission. The District may use the proposal for any purpose deemed appropriate. The proposal material may become part of any contract between the successful Proposer and the District.

- RFP INTERPRETATION

Interpretation of the wording of this RFP will be the responsibility of the District and that interpretation will be final and binding.

- PRICE

Proposers are cautioned that services must be furnished at the fees, costs and/or rates submitted and proposed unless otherwise stated. No increase in costs will be permitted during the term of the contract.

- CONTRACT

The Rockwood Board of Education must formally approve the award of any contract(s) or agreement to purchase with approval anticipated to be received no later than December 20, 2018. The successful Proposer will be required to enter into a written contract with the District which will include, but not be limited to, the scope of services described herein and the contract provisions included herein. It is anticipated the contract term will commence on January 1, 2019 and continue through June 30, 2022.

- INSURANCE

The successful Proposer will be expected to provide the following types of insurance with the described limits:

Comprehensive General Liability	$ 1,000,000	 per person per occurrence

(Including Contractual Liability)

$ 1,000,000	 property damage per occurrence

$ 1,000,000	 aggregate all claims per occurrence

Workers' Compensation	As required by applicable law

Employer's Liability	$ 1,000,000	 per occurrence

Automotive Liability	$ 1,000,000	 per occurrence

Professional Errors and Omissions	$ 1,000,000	 per occurrence

- TAXES

Proposers shall NOT INCLUDE FEDERAL EXCISE TAX, TRANSPORTATION TAX, or STATE RETAIL SALES TAX in their cost proposal, as these taxes do not apply to the District.

- NO PARTICIPATION

The successful Proposer shall not directly or indirectly participate as a proposer, bidder, or subcontractor to a proposer or bidder on any bids or request for proposals to be designed, or services to be provided, as part of the projects contemplated by this RFP.

- USE OF INFORMATION

A.	Any specifications, drawings, sketches, models, samples, data, computer programs or documentation or other technical or business information (“Information”) furnished or disclosed to interested parties under this RFP, or as the result of this RFP, shall remain the property of the District and, when in tangible form, all copies of such information shall be returned to the District upon request. Unless such information was previously known to a party, free of any obligation to keep it confidential, or has been or is subsequently made public by the District or a third party, it shall be held in confidence by such party, shall be used only for the purposes of this RFP, and may not be used for other purposes except upon such terms and conditions as may be mutually agreed upon in writing.

B.	No specifications, drawings, sketches, models, samples, tools, or other apparatus programs, technical information or data, written, oral or otherwise, furnished by any interested party to the District under this RFP shall be considered to be confidential or proprietary.

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

II. SCOPE OF SERVICES

Through this RFP, the District is seeking to obtain proposals from qualified and experienced persons, organizations, companies or firms to provide annual inspections of basketball goal systems, bleachers and an overhead volleyball system located throughout the District. The locations are listed in Schedule A, which is attached and incorporated herein.

There shall be no preventative maintenance or repairs performed in conjunction with the contract for the inspections described herein. Any preventative maintenance and/or repairs will either be performed by District staff or by means of separate bid(s) and/or contract(s), as needed.

Inspection Scheduling

All inspection work will be coordinated through the District’s Facilities Services Department at (636) 733-3270 and will be scheduled at a time that is convenient for the District. Please recognize that access to bleachers is contingent upon the availability of each location and will need to be coordinated to avoid conflicts with scheduled activities. When possible, the District recommends that inspections be completed prior to the end of the school year so that any necessary repairs can be completed over summer break.

During the contract period, new schools may be built and some schools may undergo renovation, which may cause adjustments or changes to the inspection schedule. The contractors must be able to adjust according to provide inspections as per the manufacturer recommendations of the basketball goal systems, bleachers and overhead volleyball system(s).

Emergency Inspections

Should the District require the Contractor to inspect basketball goal systems, bleachers and overhead volleyball systems outside of the approved inspection schedule, Contractor shall invoice the District at the quoted inspection rate for that site. Contractor shall complete each inspection report and submit a separate, detailed quote for any recommended repairs within 30 days of receipt of request.

Inspection Analysis and Documentation

Annual inspections will include a comprehensive inspection analysis to ensure safety and proper operation of all basketball goal systems, bleachers and overhead volleyball systems located throughout the District.

The Contractor shall furnish an inspection documentation package broken down by site in both a digital/electronic format as well as one hard copy to include the following:

- Complete written narrative of the physical condition of each basketball goal system, bleacher, and overhead volleyball system

- Color photographs of any noted defects and/or areas of concern

- Schematic diagram of basketball goal system, bleacher, and overhead volleyball system with coded defects and/or areas of concern

- Quotes for any recommended repairs and/or replacement

Inspection Quality, Codes and Safety

The Contractor shall provide certified technicians with a minimum of five (5) years of experience for the inspection of basketball goal systems, bleachers and overhead volleyball system at various school locations owned and operated by the District.

All work shall be completed in a workmanlike manner according to good standard practices according to standard industry practices and in accordance with the manufacturer recommendations.

Inspections shall be of sufficient detail to meet all the requirements of the latest revision of all applicable codes identified by St. Louis County, the State of Missouri, the International Code Council (ICC), and the National Fire Protection Association.

The Contractor shall employ safe working practices at all times while on District property. Contractor shall maintain reasonable safeguards, markers for safety and reasonable protection to prevent injury, damage or loss to District staff, students or property.

The Contractor is responsible for any damage to buildings and property due to negligence on part of the Contractor. The Contractor shall make all necessary corrections as directed by the District and approved by same at no cost to the District.

The Contractor shall warrant that the chemicals, grease, solvents, etc. used in the inspections:

- Are in compliance with current law of the County, State and EPA.

- Will not endanger the health and safety of persons coming into contact with materials

- Will not harm or damage personal or District property.

- Shall have no detrimental effect on the materials in the equipment being inspected.

The Contractor and all employees of the Contractor shall wear proper identification when inspecting District sites.

Inspection Requirements - Basketball Goal Systems and Overhead Volleyball System

Inspection requirements for Basketball Goal Systems/Volleyball Standards:

- Physically inspect goals for fatigue failures and breakaway goal(s) for proper operation

- Inspect all basketball backstops for structural soundness and proper operation

- Inspect backboards for fatigue failures

- Inspect all sockets, joints, brackets, braces and fittings for stress cracks

- Check all mounting brackets, girder clamps and pad attachments

- Inspect all backboard padding for serviceability/safety compliance

- Inspect all attachment hardware in the backboard mechanism in accordance with manufacturers recommendations

- Inspect all attachment hardware to building infrastructure in accordance with manufacturers latest recommendations

- Check all mechanical hinge/pivot points, check pivot hardware for wear

- Inspect all hoist mechanism components for serviceability and proper operation

- Inspect all goal hoist cable assemblies for serviceability

- Inspect limit switches for electric winch systems

- Check winch operating switches for proper operation

- Check proper operation of manual worm gear drive(s)

- Inspect all pulleys and winches for proper operation and wear

- Inspect backboard safety straps for proper operation/security/geometry

- Inspect/check for proper operation adjustable goal mechanisms

- Inspect cables for age and signs of wear

- Inspect all cradles and frames

- Check all hardware, nuts and bolts

- Check all moving parts

- Check goal and backboard for regulation height

- Inspect plumb/level of all backboards and rims

- Provide report/pictorial depiction of conditions/corrective recommendations in each respective gym

- Any parts that need to be replaced will be itemized, priced, and noted on the inspection report

- Inspect Volleyball standard (Rockwood Summit High School) mechanism for proper operation, and condition (use inspections utilized for mechanical Basketball goal systems)

Inspection Requirements - Bleachers

The Contractor is expected to provide comprehensive inspection analysis to ensure safety and proper operation of all bleacher components. Inspections must include a thorough examination including wall and floor attachments and mounts, mechanical and electoral devices, motors and motor mounts, chains and chain tension, power drive assemblies, undercarriage, seat and skirt modules, deck boards, safety rails, hinges, row latches, row locking devices, security locks, brace assemblies, aisle fillers, treads, guide supports, general frame supports, deflector arms, brake linkages and pads, nuts and bolts, wheels and axles, welds and wiring, and all other related hardware and connections that might apply. Surfaces shall be inspected for splintering (wood) and sharp edges (metal and plastic). Bleachers shall be fully opened in ordered to check for proper operation during the inspection. Bleacher inspections will include indoor and outdoor bleachers.

Inspection Requirements for Bleachers:

- Check bleacher attachment to wall and floor inspecting all wall attachment points and floor attachment points

- Inspect all mechanical interfaces to ensure entire frame is tight and structurally sound

- Inspect any structural member for fatigue cracking/over-stress conditions

- Inspect all welds for cracks and breaks

- Inspect all row latches and locking devices for proper operation/condition

- Inspect all cantilevers

- Inspect intermediate uprights

- Inspect alignment of each section to ensure proper stacking and extension

- Check for even spacing in tracked rows

- Inspect tracks to ensure they hold brackets securely, and are aligned correctly

- Inspect all tracks for any foreign objects and/or old grease

- Inspect floor traction system for proper operation and check alignment

- Inspect all guide retainers and guides for proper alignment

- Inspect all wheels for proper operation or that might be missing

- Inspect casters for wear

- Inspect for broken seats and decking

- Inspect seating for loose/uneven conditions, wooden members inspected for cracked/splintering condition

- Inspect for openings in seating areas greater than 4”, in accordance with applicable code

- Inspect for defective brackets for all seat and footboards

- Inspect footboards and treads for security/condition

- Inspect kick board hinges

- Inspect for loose, broken, missing steps/rungs

- Inspect deck/seat supports

- As required, check structural footings for serviceability/condition

- Inspect all hand/safety rails in system

- Inspect roller drums on power drive systems for wear

- Inspect drive chains

- Inspect all moving assemblies to ensure a non-binding system operation

- Inspect for visible corrosion/corresponding paint discontinuity

- Any parts that need to be replaced, including missing parts/hardware will be itemized, priced, and noted on the inspection report in accordance with the bid line items.

Cleanup

All equipment shall be placed back in the original locations. All spaces must be cleaned and left in an acceptable condition.

If, during the course of inspection, the Contractor encounters unforeseen conditions which impact the inspection and which could not initially be evaluated, the Contractor shall not continue without authorization of the District’s Director Facilities or Coordinator Maintenance/Grounds and/or their designee.

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

III. CONTRACT TERMS AND CONDITIONS

INTRODUCTION TO THIS SECTION

The successful Proposer will be expected to enter into a written contract with the District. The terms and conditions in this section are expected to be incorporated into any contract awarded as a result of this RFP. In submitting a proposal, the Proposer agrees to the terms and conditions in this section, unless a statement is made to the contrary. Acceptance of alternate language, terms and conditions is at the sole discretion of the District. While the exact term of the contract is subject to final determination, the successful Proposer would be expected to commence the services on or about January 1, 2019 and complete the services as mutually agreed. The following terms and conditions are not to be considered complete, and other terms and conditions will be included in any resulting contract.

WARRANTY FOR SERVICES

Contractor warrants and represents to the District that Contractor possesses the background, experience, expertise and qualifications to undertake and to carry out the Services. Contractor further warrants and represents that the Services will be performed in a professional, good, thorough and workmanlike manner, and consistent with accepted industry standards.

REMEDIES FOR UNSATISFACTORY SERVICES

In the event Contractor fails to provide the Services consistent with the warranties and representations set forth in Section 2 above, the District at its option, may:  (a) require Contractor to reperform the unsatisfactory Services at no cost to the District; (b) refuse to pay Contractor for Services, unless and until Services are corrected and performed satisfactorily; (c) require Contractor to reimburse the District all amounts paid for such unsatisfactory Services; and/or (d) proceed with, and assert, any and all remedies available at law. The foregoing options and remedies available to the District shall be deemed to be mutual and severable, and not exclusive.

INSURANCE

A.	Contractor shall maintain occurrence-based insurance including comprehensive general liability, automotive liability, and if applicable, workers’ compensation and employers' liability in the amounts described herein. Such insurance shall be provided by insurance companies authorized to do business in the State of Missouri.

B.	The District shall be included as an additional insured on all required insurance policies, except Workers’ Compensation and Employers' Liability, with respect to the liability arising out of the performance of Contractor's Services under this Agreement.

C.	Certificates of insurance of Contractor's insurance coverage shall be furnished to the District at the time of commencement of the Services.

D.	All such insurance shall provide for notice to the District of cancellation of insurance policies thirty (30) days before such cancellation is to take effect.

TERMINATION

A.	The District may terminate this Agreement with or without cause at any time by giving 15 days' prior written notice to the other party of its intention to terminate as of the date specified in the notice. Contractor shall be paid for Services satisfactorily performed up to the time notice of termination is received. Contractor shall also be paid for all Services satisfactorily performed between the time notice is received and the date of termination, as long as all such performed Services are approved by the Board in a separate writing and in advance of their performance.

B.	In the event of a breach of this Agreement by either Contractor or the District, the non-breaching party shall give the breaching party written notice specifying the default, and the breaching party shall have 15 days within which to cure the default. If the default is not cured within that time, the non-breaching party shall have the right to then terminate this Agreement by providing written notice of such termination.

INDEMNITY

Contractor agrees to indemnify and hold harmless the District and the members of the Rockwood Board of Education, and the District’s officers, employees, servants and agents from and against any and all liabilities, losses, damages, costs and expenses of any kind (including, without limitation, reasonable legal fees and expenses in connection with any investigative, administrative or judicial proceeding, whether or not designated a party thereto) which may be suffered by, incurred by or threatened against the District or any members, officers, employees, servants or agents of the District on account of or resulting from injury, or claim of injury, to person or property arising from Contractor’s actions or omissions relating to this Agreement, or arising out of Contractor’s breach or failure to perform any term, covenant, condition or agreement herein provided to be performed by Contractor.

FISCAL FUNDING

While the parties intend for the term of this Agreement to be forty-two (42) months, the term is subject to, and conditioned on, the appropriation, availability and budgeting of sufficient funds. For any fiscal year of the District during the term hereof, in the event that sufficient funds are not available to the District, are not able to be appropriated by the District or cannot be budgeted by the District for the services hereunder, the District shall have the right to terminate this Agreement upon sixty (60) days prior written notice to Consultant prior to the beginning of any such fiscal year. The District shall use reasonable efforts to avoid termination of this Agreement based on lack of fiscal funding. In the event of any such termination, the District shall pay Consultant for the services performed up to the date of termination.

GOVERNING LAW - JURISDICTION

This Agreement shall be governed, construed and interpreted under Missouri law, and shall be deemed to be executed and performed in the County of St. Louis, Missouri. Any legal action arising out of, or relating to this Agreement shall be governed by the laws of the State of Missouri, and the parties agree to the exclusive exercise of jurisdiction and venue over them by a court of competent jurisdiction located in the County of St. Louis, Missouri.

REPORTING

During the term of this Agreement, Contractor shall report to, and confer with, the District’s Coordinator Maintenance/Grounds or Director Facilities and/or their designee on a regular basis, and as may be reasonably requested, concerning the Services performed by Contractor and issues related to the Services. Contractor also agrees to meet and confer with other District administrators, officers and employees as directed, or as may be necessary or appropriate.

ASSIGNMENT

Contractor agrees, for Contractor and on behalf of Contractor’s successors, heirs, executors, administrators, and any person or persons claiming under Contractor, that this Agreement and the obligations, rights, interests, and benefits hereunder cannot be assigned, transferred, pledged, or hypothecated in any way and shall not be subject to execution, attachment, or similar process, without the express written consent of the District. Any attempt to do so, contrary to these terms, shall be null and void and shall relieve the District of any and all obligations or liability hereunder.

LICENSES AND PERMITS

Contractor shall obtain at Contractor’s expense all licenses and permits necessary to perform the Services.

CONTRACTOR REPRESENTATIONS

Contractor acknowledges and represents that (i) Contractor is legally authorized to transact business in the State of Missouri and to provide the Services required hereunder, (ii) the entering into this Agreement has been duly approved by the Contractor, (iii) the undersigned is duly authorized to execute this Agreement on behalf of Contractor and to bind Contractor to the terms hereof, and (iv) Contractor will comply with all State, federal and local statutes, regulations and ordinances, including civil rights and employment laws, and agrees not to discriminate against any employee or applicant for employment or in the provision of Services on the basis of race, color, national origin, sex, sexual orientation, age or disability. Contractor also agrees to abide by all applicable District policies and regulations.

Contractor agrees that any employee acting on behalf of the contractor and performing duties on District property will adhere to District policies related to staff conduct, including but not limited to:  banning the use of tobacco on District property, drug-free workplace and activities that could be viewed as unethical or a conflict of interest. Vendors whose staff will regularly enter school buildings will perform background screening on each staff member to ensure that they are not on a sexual offender or predator list. A complete list of District policies can be found at:

http://www.rsdmo.org/boardofeducation/policiesandregulations/Pages/default.aspx

INDEPENDENT CONTRACTOR

The District and Contractor agree that Contractor will act for all purposes as an independent contractor and not as an employee, in the performance of Contractor’s duties under this Agreement. Accordingly, Contractor shall be responsible for payment of all taxes, including federal, state and local taxes arising out of Contractor’s Services, including by way of illustration but not limitation, federal and state income tax, Social Security tax, Unemployment Insurance taxes, and any other taxes. In addition, Contractor and Contractor’s employees shall not be entitled to any vacation, insurance, health, welfare, or other fringe benefits provided by the District. Contractor shall have no authority to assume or incur any obligation or responsibility, nor make any warranty for or on behalf of the District or to attempt to bind the District.

FEDERAL WORK AUTHORIZATION PROGRAM

As an independent contractor of the District, Consultants will provide documentation and a sworn affidavit that all employees of Consultants are not considered unauthorized aliens as defined by Federal law and are enrolled in and actively participate in a federal work authorization program (FWAP) used to verify citizenship information of newly hired employees under the Immigration Reform and Control Act of 1986. Consultants must also sign and provide to the District an affidavit (attached) indicating they do not knowingly employee any unauthorized aliens under this agreement.

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

ACKNOWLEDGEMENT FORM

(Complete and return as part of your proposal)

The Proposer hereby declares understanding, agreement and certification of compliance to provide the items and/or services, at the prices quoted, in accordance with all terms and conditions, requirements and specifications of the original Request for Proposal (RFP) and as modified by any addenda.

Company Name 	Representative's Name	Title

Address	City/State/Zip	Telephone #	Fax #

E-mail Address

Years in Operation	Years under current structure and/or under previous structure

- Name of Company’s Officers:

| NAME |  | TITLE |
| --- | --- | --- |

- The undersigned hereby acknowledges the receipt of the following addenda:

| Addendum Number |  | Date Issued |  | Date Acknowledged |  | Signature |
| --- | --- | --- | --- | --- | --- | --- |

- The undersigned hereby acknowledges that the Company has read and agrees to the terms and conditions set forth in the RFP, and that the terms and conditions set forth in the Proposal will remain open for at least 90 days from the deadline for submission of Proposals

|  | Company Officer’s Name |
| --- | --- |
|  | Signature Date |

FEDERAL WORK AUTHORIZATION PROGRAM (“E-VERIFY”) ADDENDUM

Pursuant to Missouri Revised Statute 285.530, all business entities awarded any contract in excess of five thousand dollars ($5,000) with a Missouri public school district must, as a condition to the award of any such contract, be enrolled and participate in a federal work authorization program with respect to the employees working in connection with the contracted services being provided, or to be provided, to the District (to the extent allowed by E-Verify). In addition, the business entity must affirm the same through sworn affidavit and provision of documentation. In addition, the business entity must sign an affidavit that it does not knowingly employ any person who is an unauthorized alien in connection with the services being provided, or to be provided, to the District.

Accordingly, your company:

- agrees to have an authorized person execute the attached “Federal Work Authorization Program Affidavit” attached hereto and deliver the same to the District prior to or contemporaneously with the execution of its contract with the District;

- affirms it is enrolled in the “E-Verify” (formerly known as “Basic Pilot”) work authorization program of the United States, and are participating in E-Verify with respect to your employees working in connection with the services being provided (to the extent allowed by E-Verify), or to be provided, by your company to the District;

- affirms that it is not knowingly employing any person who is an unauthorized alien in connection with the services being provided, or to be provided, by your company to the District;

- affirms you will notify the District if you cease participation in E-Verify, or if there is any action, claim or complaint made against you alleging any violation of Missouri Revised Statute 285.530, or any regulations issued thereto;

- agrees to provide documentation of your participation in E-Verify to the District prior to or contemporaneously with the execution of its contract with the District (or at any time thereafter upon request by the District), by providing to the District an E-Verify screen print-out (or equivalent documentation) confirming your participation in E-Verify;

- agrees to comply with any state or federal regulations or rules that may be issued subsequent to this addendum that relate to Missouri Revised Statute 285.530; and

- agrees that any failure by your company to abide by the requirements a) through f) above will be considered a material breach of your contract with the District.

|  | By: |  |
| --- | --- | --- |
|  |  | (Signature) |
|  | Printed Name and Title: |  |
|  | For and on behalf of: |  |
|  |  | (Company Name) |

FEDERAL WORK AUTHORIZATION PROGRAM AFFIDAVIT

I, ____________________________________, being of legal age and having been duly sworn upon my oath, state the following facts are true:

- I am more than twenty-one years of age; and have first-hand knowledge of the matters set forth herein.

- I am employed by ___________________________________ (hereinafter “Company”) and have authority to issue this affidavit on its behalf.

- Company is enrolled in and participating in the United States E-Verify (formerly known as “Basic Pilot”) federal work authorization program with respect to Company’s employees working in connection with the services Company is providing to, or will provide to, the District, to the extent allowed by E-Verify.

- Company does not knowingly employ any person who is an unauthorized alien in connection with the services Company is providing to, or will provide to, the District.

- FURTHER AFFIANT SAYETH NOT.

|  | By: |  | (individual signature) |
| --- | --- | --- | --- |
|  | For |  | (company name) |
|  | Title: |  |  |

| Subscribed and sworn to before me on this |  | day of |  | , 20 |  | . |
| --- | --- | --- | --- | --- | --- | --- |

__________________________________

NOTARY PUBLIC

My commission expires: