**BOARD OF COUNTY COMMISSIONERS**

**JACKSON COUNTY, FLORIDA**

**Project # 2021-13**

**Health Department Generator Repair**

**ADDENDUM 1**

**Questions and Answers**

1. **Please clarify “adjustable breaker”.**

**(i.e. KH36150 or HDA36150U31X or HDA36150U33X or HDA36150U44X)**

**What degree of adjustability are we looking for?**

**Response: For feeder 'H', furnish/install non-adjustable Square D Breaker type 'HGA36125'. For feeder 'H1', furnish/install non-adjustable Square D Breaker type 'JGA36250'. ALD 02/22/21**