**ADDENDUM 3**

**Additional Clarification**

**Will there be painting involved? Or will that be excluded?**

Painting will be excluded from the bid.

**The Base bid for shows to remove and replace sheetrock. I noticed most of this was already removed. Are there any areas that still need removed?**

Sheetrock appears to have all been removed, contractors can exclude the remove portion from the Scope of Work.

**Additional photos have been added to the website which should offer some clarification as to the locations of the individual rooms and Hallway locations per the Scope of Work.**


<https://jacksoncountyflgov-my.sharepoint.com/:b:/g/personal/pottsh_jacksoncountyfl_gov/EfCAs4EhxwdDq2fRIpWQbSkBUyxiK3xdmT6ymHj9jdWtHA?e=HzsYA1>

**The last item on the Base Bid Scope of work is referring to the damaged wall section along the back wall in the warehouse area.**

Sheriff’s Office Metal Finishes Warehouse:

174.Remove and replace 480 SF of sheetrock ,120 FT long x 4 FT high.

175.Remove and replace 480 SF of batt wall insulation, 120 FT long x 4 FT high.



**Bid due date and time remain unchanged.** If additional time is needed to prepare bid submission, please contact the purchasing office at [bradleyn@jacksoncountyfl.gov](mailto:bradleyn@jacksoncountyfl.gov) or call 850-482-9633.