INVITATION TO BID

PURCHASING DEPARTMENT

P. O. BOX 1125

216 E. CENTRAL AVENUE

VALDOSTA, GEORGIA 31606

BID #40-06-07

FOR: A/C and Heating Services Contract

OPENING DATE: May 15, 2007

TIME: 10:15 A.M.

GREG BROWN, CPPB, CPPO

PURCHASING AGENT

(229) 259-3525 • Fax (229) 259-5460

NOTICE TO DEALERS/VENDORS

1. Any prices bid by dealer/vendor on any items offered to the City of Valdosta shall be the price effective at the date of delivery.

2. No delivery date of “ASAP” (As Soon As Possible) shall be considered acceptable on items that have a maximum delivery date listed in the specifications.

3. The City of Valdosta reserves the right to accept alternate bids on any or all items where maximum delivery date, as listed in the specifications is not met by dealer/vendor.

4. Signature below of authorized agent for dealer/vendor shall constitute recognition and acceptance of all conditions of the sale as listed above.

5. All shipping is to be FOB Valdosta, GA 31601 and included in total price unless otherwise stated in the bid document.

____________________________________

Dealer/Vendor

Authorized Agent

GENERAL SPECIFICATIONS

It is the intent of these specifications to furnish the City of Valdosta with the following requisitioned equipment, according to the attached. It is clearly understood that the following are minimum specifications and are made in order to show the exact quality through specifications of the equipment proposed.

The City of Valdosta reserves the right to accept any or all bids or to choose the bid considered to be in their best interest and to waive any technicalities.

The final decision of purchase will be made upon the award of the City of Valdosta Mayor and Council if the item or items total are greater than $10,000.

NO BID WILL BE CONSIDERED IF RECEIVED AFTER THE DATE AND TIME SPECIFIED.

Be sure to put the Bid Number on the outside of your return envelope.

INSTRUCTIONS TO BIDDERS

1. Proposals must be made upon the form of the proposal attached hereto. They must be enclosed in a sealed plain envelope, with the bid number written on the outside and endorsed with the title of the proposal, and must be filed with the Purchasing Agent of the City of Valdosta, located at 216 E. Central Ave. In the event you choose to mail your proposal, it should be mailed to Greg Brown, P.A., P.O. Box 1125, Valdosta, Ga. 31603.

2. No bidder will be allowed to withdraw his proposal for any reason whatsoever after the bids have been opened.

3. The specifications following, represent the minimum general size, weight, capacity and performance characteristics desired in the equipment to be purchased. These requirements are not intended to prevent obtaining fair prices or to eliminate competition, but to insure, if possible, that all bids submitted shall not be subject to correction or alteration after the bid has been filed, opened, and publicly read. In view of an unusual wide disparity in details of design and manufacture, complete descriptive literature and manufacturer’s specifications must be submitted on each type of equipment offered. The City of Valdosta reserves the right to evaluate any or all bids, particularly where there is a range in specifications. Special consideration will be given to the ready availability of repair parts and service.

4. Federal or State taxes are not applicable to Georgia Municipalities under the United States Code Title 26 and Georgia Exemption Certificate Number 3-465-686-300-1.

5. It is expressly understood by the bidder that written notice of the award or purchase order by the City of Valdosta will constitute an agreement and consummate the transaction and will serve together with the proposal, the advertisement, these instructions and the detailed specifications, as the entire form of contract between the parties.

6. The bidder agrees that the City of Valdosta reserves the right to reject any or all proposals, or to accept the part of the bid considered to be in the best interest of the City.

7. Specifications referred to are minimum, therefore unless otherwise indicated by the bidder, the City will assume proposals meet or exceed all specifications.

8. The names of a certain brand, make or definite specifications are to demote quality standard of the article desired, but do not restrict bidders to be specific brand, make or manufacturer named; it is to set forth and convey to prospective bidders the general style, type, character and quality of the article desired.

9. The award of the contract will be made to the lowest responsible bidder taking into consideration quality performance and the time specified in the proposals for the performance of the contract. The City of Valdosta reserves the right to reject all bids as appears in its own best interest and to waive technicalities. In cases of a tie, the bid received first will be awarded or whichever bid is in the best interest of the City.

SPECIFICATIONS

It is the intent of these specifications to furnish the City of Valdosta with Air Conditioning and Heating Repair Service for all City Owned Properties. These are minimum specifications and the successful contractor should be able to meet the minimum requirements below. Any deviations should be submitted with this bid package on your company letterhead.

1.0 General Conditions

1.1 Term of Contract

The contract will begin on July 1, 2007 and expire June 30, 2008.

1.2 Option to Renew

The City reserves the right to extend the contract for an additional (1) one year period if both parties are in agreement and the prices remain firm.

1.3 Termination

The City reserves the right to cancel this agreement with (15) fifteen days written notice.

1.4 Method of Ordering

Individuals specifically authorized by the City of Valdosta will place verbal orders directly to the contractor. A verbal purchase order or city credit card number will be given for each project. This number MUST appear on the invoice as well as where the work was performed and a brief description of what was actually done.

1.5 Invoicing

Invoices shall be mailed to City of Valdosta, Attn: Accounting Division, P.O. Box 1125, Valdosta, GA 31603-1125. The following must appear on each invoice:

A) City purchase order number

B) Items listed individually with part numbers

C) Unit, extended and total price

D) Location where work performed

E) Invoice number and date

F) Copy of work order with authorized signature of City personnel

1.6 Delivery

All parts and labor will be quoted FOB various City locations, unloaded and installed. Travel time will for contractor’s personnel will not be included as part of this contract.

1.7 Repair and Replacement Parts

Repair or replacement parts for existing equipment may be accomplished by the contractor using other than original equipment manufacturer’s (OEM) parts. However, all parts or equipment furnished must be equal or exceed that of the original equipment manufacture.

1.8 Contractors Performance

Contractor shall furnish necessary labor, tools, equipment and supplies to perform the required services at the City facilities. The City’s authorized representative will decide all questions which may arise as to the quality and acceptability of any work performed under this contract. If, in the opinion of the City’s authorized representative, performance becomes unacceptable, the City shall notify the contractor.

The contractor will have (1) one day from that time to correct any specific instances of unsatisfactory performance. In the event the unsatisfactory performance is not corrected within the specified period, the City shall have the immediate right to complete the work to its satisfaction and shall deduct the cost to cover from any balances due or to become due the contractor. Repeated incidences of unsatisfactory performance may result in cancellation of the agreement for default.

1.9 Insurance

Contractor, performing as an independent contractor, shall be fully responsible for providing Workers Compensation, Commercial General Liability and Automotive Liability coverage as follows:

A) Workers Compensation Statutory

B) Employer’s Liability $100,000 (each accident)

C) Commercial General Liability in the amount of $500,000

Contractor will hold the City harmless in the event of any accident unless the City has been proven to be at fault.

1.10 Access to Work Area

City personnel will identify project areas, storage areas and parking to be utilized by the contractor.

1.11 Suspension of Work

The City reserves the right to suspend work wholly or in part if deemed necessary for the best interest of the City. This suspension will be without compensation to the contractor other than to adjust the contract completion or delivery requirements.

1.12 Equipment Safety

The contractor shall be responsible for providing and for the placement of barricades, tarps, plastic, flag tape and other safety/traffic control equipment required to protect its employees, the public, surrounding areas, equipment, vehicles and City personnel. The safety of all of the above mentioned is a primary concern of the City. Any company that have a history or a high incidence of accidents may be disqualified if deemed necessary by the City.

1.13 Workmanship

Where not more specifically described in any or the various sections of these specifications, workmanship shall conform to all of the methods of operations of best standards and accepted practices of the trade and shall include all fabrication, construction or completion. All work shall be performed by personnel skilled in their respective lines of work and be certified or licensed as required by National, State of Local law.

1.14 Cleaning

The contractor shall keep the premises clean of all rubbish and debris generated by the work involved and shall leave the premises neat and clean. All surplus materials, rubbish and debris shall be disposed of by the contractor and at the contractor’s expense.

The work area shall be cleaned at the end of each work day unless prior approval has been granted by the City. The City shall not be responsible for theft or damage to the contractor’s property. In the event that a project cannot be finished by the end of the work day, the contractor shall secure the area in a way that is safe to the public and City personnel.

1.15 Hours of Work

All work under this contract will be coordinated with City personnel.

1.16 Security

The City does not assume responsibility, at any time, for the protection of or loss of materials from the time the contractor operations have commenced until the final acceptance of the work is acknowledged by the City.

1.17 Final Inspection and Acceptance

The contractor will request a City designee to conduct a site inspection after the project is complete. The designee will prepare a punch list if needed during the inspection and will forward a copy to the contractor.

After the punch list items have been corrected, the contractor will request a final inspection. Final project approval is contingent on the final inspection and written approval by the City. This shall include a City of Valdosta employee’s signature on a valid work order.

1.18 Property Damage

Contractor agrees to repair at contractor’s expense any damage that was caused to City owned property by contractor.

2.0 Scope

Contractor shall supply all labor and materials for air conditioning and heating equipment repairs for various City owned properties on an as needed basis until June 30, 2000. The list of properties are as follows but not limited to just these properties:

City Hall

City Hall Annex

Central Warehouse

Mathis Auditorium

Craig Center

Pinevale Center

Valdosta Police Department

Class Room- Police Firing Range

Engineering Sign Shop

Fire Stations #1 - #7

Jaycee Shack

Parks Maintenance Building

Concession Stands at Valloton and Southeast Ball Parks

Sunset Hill Cemetery Office

Fry Street Pool Bath House

Scott Park Assorted Buildings

Barber Park Building

Guest Road Water Plant

Mud Creek WWTP

Withlacoochee WWTP

Vehicle Maintenance Center

Public Works and Water and Sewer Offices

Senior Citizens Center

Any other buildings

2.1 Repair Warranties

Contractor shall list on the invoice or work order the brand name and part number of all replacement or used parts. All repair shall be warranted for a minimum of (90) ninety days from date of repair. If the same item must be repaired again for any failure during the warranty period, the follow-up service will be performed at no charge to the City including labor. Parts which carry a standard warranty that exceeds (90) ninety days shall be honored by the contractor.

2.2 Labor Rates

Labor rates will start upon arrival at the job site and end upon completion that day at job site. The City will not accept any travel charges. All jobs are expected to require (1) one service person unless prior approval is granted by the City.

2.3 Work Hours/Labor Rates

Regular work hours shall be 7:00 a.m. to 6:00 p.m., Monday through Friday, City holidays excluded, regular hour rate shall apply.

Overtime hours shall be all other times not covered in the previous paragraph and may be charged accordingly.

2.4 Response Time

All call for service must be acknowledged within (1) one hour of initial phone call. Contractor must state a realistic and true time when the work can be scheduled and to the acceptance of the City.

2.5 Major Repairs

Before major non-emergency repairs (greater than $1000.00) are approved, contractor shall provide the City with a written quotation detailing parts and estimated labor charges within (3) three business days. The City reserves the right to secure proposals from other companies at any time during this contract. Any project greater than $10,000.00 will be mailed to other qualified contractors in sealed bid form and awarded by the City of Valdosta Mayor and Council.

2.6 Sub-Contractors

No sub-contractors shall be used without City of Valdosta authorization.

2.7 Responses

All responses shall be on this invitation to bid. You must complete all requested information in the format that is being provided to you. Failure to do so may be grounds for disqualification.

PROPOSAL

We/I have examined the specifications and agree to furnish the City of Valdosta with the services as specified accordingly. Any deviations from the specifications will be submitted on your company letterhead.

Material Cost + % Mark Up

Regular Hourly Rate $

Overtime Hourly Rate $

Response Time to Job Site Hrs.

Date:

Company Name:

Address:

Phone Number: Fax:

Emergency Phone Number (24 hours):

Signature: Title:

Printed Name:

Contractor License Number:

Will you accept a City Credit Card for Payment? Yes No

Vendors

Waller Heating and Air

405 St. Augustine Rd.

Valdosta, GA 31601

Ray and Son

P.O. Box 862

Nashville, GA 31639

S and K Air

1810 E. Park Ave.

Valdosta, GA 31601

McCord A/C

302 St. Augustine Rd.

Valdosta, GA 31601

Rowe A/C

1016 W. Gordon St.

Valdosta, GA 31601

Siemens

Att: Don Pittman

119-6 Hamilton Park Dr.

Tallahassee, FL 32304

GA Trane

Att: Danny Vestal

7856 Maclean Rd.

Tallahassee, FL 32312